**Risk Evaluation for Automatic Revolving Doors**

 1. Purpose of the Risk Evaluation

EN 16005 describes the safety requirements placed on automatic door systems as required by Directive 2006/42/EC (the Machinery Directive). The expected risks and the measures to eliminate or minimise these risks must be recorded. The risk analysis should be compiled with the involvement of the planner, operator and manufacturer.

The responsibility for product safety rests entirely with the manufacturer of the complete door system, in other words with the TORMAX sales partner or the TORMAX market organisation.

The Machinery Directive requires that a risk assessment and the accompanying safety measures must be prepared for every automatic door system.

 2. Procedure

The TORMAX sales partner or the TORMAX market organisation, as manufacturer of the complete door system, complete the risk analysis as early as the planning stage and check the details based on the actual installation situation. This document is retained by the sales partner and forms part of the files on the door system.

Under the Machinery Directive, TORMAX sales partners and market organisations, as the manufacturer of the complete door system, are obliged to issue a declaration of conformity (document template T-1948 available in the Extranet) for the entire door system. The TORMAX declaration of incorporation and the completed risk assessment constitute the documents necessary for the issue of the declaration of conformity.

 3. System Data

Please complete with all details.

Project type:

Location:

Contact person:

Address:

Street:

Town/city, post code:

Risk Evaluation carried out by:

Company:

Address:

Person: Date: ……………………………….

Door drive used:

Installed by: (Name, person installing the system)

System in use from (date):

 4. Identification of the Risks

The elimination of a hazardous area is to be preferred over protection against a hazardous area.

 

 Clarification of safety distances

A = Main closing edge

B = Secondary closing edge

 5. Risk Evaluation

Please tick the appropriate box.

Location / User

□ **Public Area** (🡪 high risk):

 Everybody, including particularly vulnerable persons

□ **Non-public Area** (🡪 low risk):

 Instructed personnel, access control

Suitable protective measures see chapter 6.

 6. Suitable Protective Measures for Reducing the Risk on Revolving Doors

In accordance with EN 16005, chapter 4.6, 4.7, addendum C, addendum H

Please tick the selected protective measures:

|  |
| --- |
| A1 SAFEGUARDING AGAINST BUMPING INTO A DOOR LEAF  |
| **Public Area and Non-public Area** |
| **Risk accepted** | On small door diameters | □ Planned protective measure□ Installed protective measure |
| **or** |
| **Safety Sensor with monitoring** | Diameters of > 3000 mm, monitored presence sensor, adjusting permitted only after 30 sec. | □ Planned protective measure□ Installed protective measure |
| **or** |
| **Laser scanner** | As appropriate, test 4 with test bodies CA and CB together (Figure C.7, C.8 or C.9 from appendix C) | □ Planned protective measure□ Installed protective measure |

|  |
| --- |
| A2 SAFEGUARDING THE MAIN CLOSING EDGE – COLUMN |
| **Public Area and Non-public Area** |
| **Pre-column safety** | Monitored presence sensor, adjusting permitted only after 30 sec.. | □ Planned protective measure□ Installed protective measure |
| **and** |
| **Vertical strip sensor** | min. 180° angle of response | □ Planned protective measure□ Installed protective measure |
| **and** |
| **Speed limit** | Dynamic force max. 400 NStatic force max. 150 NV max. 70 cm/s | □ Planned protective measure□ Installed protective measure |
| **or** |
| **Very low speed** | Dynamic force max. 150 N | □ Planned protective measure□ Installed protective measure |

|  |
| --- |
| A3 SAFEGUARDING THE MAIN CLOSING EDGE – INNER DRUM WALL  |
| **Public Area and Non-public Area** |
| **Vertical strip sensor** | On leaf min. 180° angle of response | □ Planned protective measure□ Installed protective measure |
| **and** |
| **Safety distance** | min. 25 mm | □ Planned protective measure□ Installed protective measure |

|  |
| --- |
| B1 SAFEGUARDING THE SECONDARY CLOSING EDGE – FLOOR  |
| **Public Area and Non-public Area** |
| **Horizontal strip sensor** | Active strip sensor can be omitted, if energy is smaller 1,6 J (low energy),F static < 67 N, F dynamic < 150 N | □ Planned protective measure□ Installed protective measure |
| **or** |
| **Safety distance** | max. 8 mm | □ Planned protective measure□ Installed protective measure |
| **or** |
| **Laser scanner** | As appropriate, test 4 with test bodies CA and CB together (Figure C.7, C.8 or C.9 from appendix C) | □ Planned protective measure□ Installed protective measure |

|  |
| --- |
| B2 SAFEGUARDING THE SECONDARY EDGE – CEILING |
| **Public Area and Non-public Area** |
| **Safety distance** | No deepening in the ceiling(avoid shear/crush zones) | □ Planned protective measure□ Installed protective measure |
| **or** |
| **Door height** | > 2,5 m | □ Planned protective measure□ Installed protective measure |

 7. Remarks

Changes of use, residual risks, special functions, miscellaneous

(Example of residual risks: moving parts in the area of all closing edges, objects positioned in the movement area of the door leaves, defective maintenance or no maintenance)

…………………………………………………………………………………………………………………………………………….

…………………………………………………………………………………………………………………………………………….

…………………………………………………………………………………………………………………………………………….

…………………………………………………………………………………………………………………………………………….

…………………………………………………………………………………………………………………………………………….

…………………………………………………………………………………………………………………………………………….

…………………………………………………………………………………………………………………………………………….

…………………………………………………………………………………………………………………………………………….

…………………………………………………………………………………………………………………………………………….

…………………………………………………………………………………………………………………………………………….

…………………………………………………………………………………………………………………………………………….

…………………………………………………………………………………………………………………………………………….

…………………………………………………………………………………………………………………………………………….

…………………………………………………………………………………………………………………………………………….

…………………………………………………………………………………………………………………………………………….

…………………………………………………………………………………………………………………………………………….

…………………………………………………………………………………………………………………………………………….

…………………………………………………………………………………………………………………………………………….

…………………………………………………………………………………………………………………………………………….

…………………………………………………………………………………………………………………………………………….

…………………………………………………………………………………………………………………………………………….

…………………………………………………………………………………………………………………………………………….

…………………………………………………………………………………………………………………………………………….

…………………………………………………………………………………………………………………………………………….

…………………………………………………………………………………………………………………………………………….

…………………………………………………………………………………………………………………………………………….

…………………………………………………………………………………………………………………………………………….